## Slide 1: Khulna University of Engineering & Technology Department of Electrical & Electronic Engineering (EEE)
Course Title: Electrical & Electronic Shop Practice
Course no: EE 2200
Credit: 1.5
Contact Hrs: 3hrs/week

## Slide 2: References
1. Electrical Wiring Estimation and Costing
- S.L. Uppal
2. Electronic Instrumentation and Measurements
- David A. Bell
Course Teachers
1. Prof. Dr. Md. Abdur Rafiq
&
2. Md. Zakir Hossain

## Slide 3: Familiarization with (a) Conventional symbols for electrical installation (b) Electrical switches (c) Electrical tools
Experiment 01:

## Slide 4: Conventional symbols for electrical installation
Lighting and Exhaust Fans Blocks
Outlets Blocks
Climate Control Blocks
General Electrical Symbol Blocks
Gas Blocks
Water Blocks
Reflected Ceiling Plan Blocks
All Symbols From S.L. Upp4al

## Slide 5: Electrical Wiring Diagram Symbols for Lighting
Surface Ceiling Light
Recessed Ceiling Light
Drop Cord Light
Landscape Light
Wall Light
Ceiling Fan

## Slide 6: Electrical Wiring Diagram Symbols for Lighting (Continued….)
Track Light
Troffer Fluorescent Light
Surface Fluorescent Light
Home Electrical Wiring Diagram Symbols for Switches
Switch
3-Way Switch
4-Way Switch
Dimmer Switch
Multi-light Bar

## Slide 7: Home Electrical Wiring Symbols for Outlets
Outlet
GFI Outlet
Switched Outlet
Waterproof Outlet
Quad Outlet
Floor Outlet
240 Volt Outlet

## Slide 8: Home Electrical Wiring Symbols for Signals & Communications
Smoke Detector
Telecom Outlets
Stereo Outlet
Television Outlet
Doorbell Button
Doorbell Chime
Doorbell Transformer
Thermostat

## Slide 9: Electrical tools
Introduction:
Wood
Stone
Iron (Metal)
Macro(Tools)
Micro(tools)

## Slide 10: Screwdriver:
Fig. 1:Simple Screwdriver

## Slide 11: Screwdriver (Continued….)
Fig.2 :Quick rotating screwdriver

## Slide 12: Pliers
Fig. 3:Slip Joint Pliers
Fig. 4:Hand tools with two movable jaws of fixed or variable gaps

## Slide 13: Pliers (Continued…)

## Slide 14: Pliers(Continued…)
Fig. 5: Pliers in summary

## Slide 15: Side Cutters

## Slide 16: Side cutter+ Plier(Continued…)
Fig.6 :Diagonal Cutting Pliers & Nippers

## Slide 17: Pocket Knife
Fig.7 : Stainless Steel 4-Tool Pocket Knife
Fig. 8: Swiss Army Huntsman Lite 21 tool Pocket Knife

## Slide 18: Pocket Knife(Continued…)
Fig.9 : Multi function Tool & Pocket Knife

## Slide 19: Hammer

## Slide 20: Hacksaw

## Slide 21: Hacksaw

## Slide 22: Hacksaw(Continued…)

## Slide 23: Hacksaw(Continued…)

## Slide 24: Chisel

## Slide 25: Scratch awl

## Slide 26: Scratch awl(Continued…)

## Slide 27: Drill

## Slide 28: Drill(Continued…)

## Slide 29: Brace (tool)

## Slide 30: Plumb-bob

## Slide 31: Blow Lamp

## Slide 32
Standard wire gauge
measure that how large a wire is, either in diameter or cross sectional area
determines the amount of electrical current that a wire can safely carry, as well as its electrical resistance and weight per unit of length.

## Slide 33: How to Write a Good(?) Report?
The points that need to be included in a report are-
Objectives of the experiment
Theory (If any)
Apparatus List
Diagram/ Experimental flow chart/ Set-up
Procedure
Data (If any)
Graphs(With discussion) (If any)
Results (If any)
Discussion/Conclusion